# Experiment 1: Uncertainty in Lab Glassware

## Results and Discussion

The uncertainty of the glassware was included in calculating the propagated error for each preparation method.

For the volumetric flask method, the 50.00 mL volumetric flask has an uncertainty of ±0.05 mL (tolerance class 20). The relative uncertainty is:
    (0.05 / 50.00) × 100 = 0.10%

For the beaker method, the 50.0 mL volume has an uncertainty of ±5%:
    (2.50 / 50.0) × 100 = 5.0%

Blank Correction and Beer’s Law
The background absorbance at 412.80 nm was measured 5 times, with an average of ~0.015. Each raw absorbance was corrected by subtracting this blank. Concentration was determined using Beer’s Law:

    A = ε b c   →   c = A / (ε b)

where ε = 1020 M⁻¹ cm⁻¹ and b = 1.00 cm.

### Table 1. Variability of potassium ferricyanide concentration for each replicate

| Sample | Avg conc. (M) | SD (M) | RSD (%) | 95% CI (M) |
| --- | --- | --- | --- | --- |
| 1 | 9.22×10⁻⁴ | 7.19×10⁻⁶ | 0.753 | 6.30×10⁻⁶ |
| 2 | 9.87×10⁻⁴ | 3.16×10⁻⁵ | 3.20 | 2.77×10⁻⁵ |
| 3 | 9.78×10⁻⁴ | 9.21×10⁻⁶ | 0.941 | 8.07×10⁻⁶ |
| 4 | 9.19×10⁻⁴ | 1.04×10⁻⁵ | 1.13 | 9.12×10⁻⁶ |
| 5 | 9.92×10⁻⁴ | 1.41×10⁻⁵ | 1.42 | 3.80×10⁻⁶ |
| 6 | 9.76×10⁻⁴ | 4.34×10⁻⁶ | 0.444 | 3.80×10⁻⁶ |

### Table 2. Variability and error by preparation method

| Method | Avg conc. (M) | SD (M) | RSD (%) | 95% CI (M) | Abs. Error (M) | % Error |
| --- | --- | --- | --- | --- | --- | --- |
| Volumetric flask | 9.74×10⁻⁴ | 2.29×10⁻⁵ | 2.35 | 1.16×10⁻⁵ | 2.70×10⁻⁵ | 2.7% |
| Beaker | 9.62×10⁻⁴ | 3.36×10⁻⁵ | 3.49 | 1.70×10⁻⁵ | 3.82×10⁻⁵ | 3.8% |

## Discussion Questions

1. Which preparation method gives the most accurate result?
The volumetric flask preparation was more accurate, giving an average concentration closer to the expected 1.0005 × 10⁻³ M and a smaller % error (2.7% vs 3.8%).

2. Case 1 t-test: Does either method agree with the true value?
A Case 1 t-test comparing each method’s mean to the true concentration shows that neither method agrees with the true value at the 95% confidence level, because the 95% CI for both does not include 1.0005 × 10⁻³ M.

3. Which method appears to be more precise?
The volumetric flask method is more precise, as shown by a lower standard deviation, smaller RSD, and narrower confidence interval.

4. Case 2 t-test: Do the two means agree within experimental error?
A Case 2 t-test comparing the flask and beaker means indicates that the two are not statistically different at the 95% confidence level, suggesting that although flask preparation is more precise, the means are not significantly different.