# Pre-Lab Calculations: External Standard & Standard Addition (Ferricyanide UV–Vis)

## 1) Stock Solution Calculation

Molar mass of K3[Fe(CN)6]:

MW = 3(39.0983 K) + 55.845 Fe + 6(12.011 C) + 6(14.007 N)

= 117.2949 + 55.8450 + 72.066 + 84.042 = 329.2479 g·mol⁻¹

Mass required to prepare 100.00 mL of 0.0200 M stock:

m = C · V · MW

= (0.0200 mol·L⁻¹)(0.10000 L)(329.2479 g·mol⁻¹) = 0.6585 g

Answer (to 4 sig figs): 0.6585 g (weigh ~0.6585 g K3[Fe(CN)6])

## 2) External Standards: Dilution Plan to 50.00 mL

Use C1V1 = C2V2 with C1 = 0.0200 M stock and V2 = 50.00 mL for each standard.

| Target C2 (M) | V2 (mL) | V1 from stock (mL) | Diluent to add (mL) | Expected A (ε=1020, b=1 cm) |
| --- | --- | --- | --- | --- |
| 0.00020 | 50.00 | 0.500 | 49.50 | 0.204 |
| 0.00040 | 50.00 | 1.000 | 49.00 | 0.408 |
| 0.00060 | 50.00 | 1.500 | 48.50 | 0.612 |
| 0.00080 | 50.00 | 2.000 | 48.00 | 0.816 |
| 0.00100 | 50.00 | 2.500 | 47.50 | 1.020 |

Check: V1 (mL) = (C2·V2 / C1) × 1000. Example for 0.00020 M: V1 = (0.00020·0.05000 / 0.0200)×1000 = 0.500 mL.

## 3) Standard Addition Setup (Example Plan)

Prepare five 50.00 mL flasks each containing the same volume of sample (e.g., 10.00 mL), then add increasing volumes of 0.0200 M standard, and fill to 50.00 mL.

C_added (in final flask) = C_stock · V_added / V_final

| Flask # | V_sample (mL) | V_added standard (mL) | V_final (mL) | C_added (M) |
| --- | --- | --- | --- | --- |
| 1 | 10.00 | 0.00 | 50.00 | 0.00000 |
| 2 | 10.00 | 0.50 | 50.00 | 0.00020 |
| 3 | 10.00 | 1.00 | 50.00 | 0.00040 |
| 4 | 10.00 | 1.50 | 50.00 | 0.00060 |
| 5 | 10.00 | 2.00 | 50.00 | 0.00080 |

## 4) Notes for Pre-Lab Writeup

• Show the C1V1=C2V2 calculation for each standard explicitly (as above).

• Record exact weighed mass and compute the actual stock concentration to use in your spreadsheet.

• During lab, measure ≥10 blanks to get s_blank, then compute LOD = 3·s_blank/m and LOQ = 10·s_blank/m from your external-standard slope m.

• For absorbance predictions, remember to subtract the mean blank before using Beer’s Law.