# Pre-Lab: External Standard & Standard Addition (Ferricyanide by UV–Vis)

## Introduction & Learning Goals

Goal: determine the concentration of K3[Fe(CN)6] in an unknown by (1) an external-standard calibration curve and (2) a standard-addition calibration, while quantifying uncertainty, LOD, and LOQ. You will compare the two methods to evaluate matrix effects and measurement precision/accuracy.

Learning outcomes: understand matrix effects; construct and use calibration curves; use LINEST/linear regression to obtain slope/intercept and their uncertainties; compute concentration and its uncertainty; and estimate LOD/LOQ from the calibration.

## Key Information & Constants (from lab manual)

• Analyte: potassium ferricyanide, K3[Fe(CN)6]

• ε (molar absorptivity) ≈ 1020 M⁻¹ cm⁻¹; cuvette path length b = 1.00 cm

• λ_max expected near 420 ± 10 nm; verify from a spectrum, then measure only at that λ.

• Prepare 0.0200 M stock in a 100.00 mL volumetric flask.

• Prepare five standards nominally: 0.00020, 0.00040, 0.00060, 0.00080, 0.00100 M (use actual values based on your dilutions).

• Solvent for standards: 0.01 M KOH. Background blank for measurements: 0.01 M NaOH (≥10 replicate blanks).

## Equations You Will Use

Beer’s Law:     A = ε b c    ⇒    c = A/(ε b)

Linear calibration (external standard):    A = m c + b   (slope m ≈ ε b)

Unknown via calibration line:    c_unknown = (A_unknown − b)/m

LOD and LOQ:    LOD = 3·s_blank / m,    LOQ = 10·s_blank / m

95% Confidence Interval for mean:    x̄ ± t·s/√n

## Pre-Lab Calculations to Show

1) Mass of K3[Fe(CN)6] to make 100.00 mL of 0.0200 M stock:  m(g) = (0.0200 mol·L⁻¹)(0.10000 L)(MW g·mol⁻¹). Show MW lookup and computation.

2) Dilution plan for standards #1–#5. Use V1·C1 = V2·C2 for each; record actual C (M) for the calibration.

3) Measurement plan: ≥10 blanks; triplicate standards; ≥5–7 unknown replicates.

## Procedure Overview

Part A – External Standard (Week 1):

• Clean/rinse glassware; final rinse with solvent.

• Prepare 0.0200 M stock (100.00 mL); record actual concentration from weighed mass.

• Prepare five standards (nominal 0.00020–0.00100 M) using stock + 0.01 M KOH; record actual concentrations.

• Acquire a spectrum; find λ_max near ~420 nm; set instrument to that λ.

• Measure blank (0.01 M NaOH) ≥10×; compute mean & s; subtract mean blank from all signals.

• Measure each standard 3×; measure the unknown 5–7×.

• Build A–c calibration; get m, b, their uncertainties (LINEST); compute ε≈m (since b=1.00 cm); compute LOD/LOQ.

Part B – Standard Addition (Week 2):

• Same sample volume in ~5 flasks; add increasing volumes of standard; fill to mark with solvent (constant matrix).

• Measure A at the same λ; plot A vs added concentration; use x-intercept magnitude to find original c; report u(c).

## Data Collection Templates

A) Blanks (0.01 M NaOH) at λ_max

| Replicate # | A_blank | Notes | Mean / SD |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |
| 5 |  |  |  |
| 6 |  |  |  |
| 7 |  |  |  |
| 8 |  |  |  |
| 9 |  |  |  |
| 10 |  |  |  |

B) External Standard Measurements (triplicates at λ_max)

| Std # | C_std (M, actual) | A1 | A2 | A3 | Mean A (blank-corrected) |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |

C) Unknown Measurements (≥5–7 replicates at λ_max)

| Replicate # | A_unknown | A_corrected | Notes |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |
| 5 |  |  |  |
| 6 |  |  |  |
| 7 |  |  |  |

D) Standard Addition Setup (constant sample volume; increasing standard)

| Flask # | V_sample (mL) | V_standard (mL) | V_solvent to mark | C_added (M) | A_meas | A_corr |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |